## Sheet1
Table S2. Singer RoToR settings used for the experimental pipeline.
SETTINGS |  |  |  |  | 384 Glycerol to 384 Plate | 384 Plate to 384 Plate | 384 Plate to 1536 Plate | 1536 Plate to 1536 Plate | 1536 Plate to 6144 Plate
Source |  |  |  |  | 384 MTP | 384 Agar | 384 Agar | 1536 Agar | 1536 Agar
Target |  |  |  |  | 384 Agar | 384 Agar | 1536 Agar | 1536 Agar | 6144 Agar
Pads |  |  |  |  | 384 Long Pin | 384 Short | 384 Short | 1536 Short | 1536 Short
Program |  |  |  |  | Spot | Replicate | 1:4 Array | Replicate | 1:4 Array
General
|  | Quantity |  |  | N/A | N/A | N/A | N/A | N/A
|  | Recycle |  |  | None | None | None | None | None
|  | Plate Protection |  |  | Uncheck | Uncheck | Uncheck | Uncheck | Uncheck
Pairs
Start Pair
Source
|  | Offset |  |  |  | No Offset | Automatic | No Offset | Automatic
|  |  | Max Radius |  |  |  | 0.4 mm |  | 0.3 mm
Offsets
Pinning
|  |  | Pin Pressure |  |  | 32% | 32% | 58% | 58%
|  |  | Speed |  | 19 mm per sec | 19 mm per sec | 19 mm per sec | 19 mm per sec | 19 mm per sec
|  |  | Backoff |  | 0.5 mm | 2 mm | 2 mm | 2.5 mm | 2 mm
|  |  | Repeat Pin |  | 1 times | 1 times | 1 times | 1 times | 1 times
Dry Mix
|  |  | Clearance |  |  | 0.5 mm | 0.5 mm | 0.5 mm | 0.5 mm
|  |  | Diameter |  |  | 1 mm | 1 mm | 1 mm | 1 mm
|  |  | Cycles |  |  | 1 rotations | 1 rotations | 1 rotations | 1 rotations
Wet Mix
|  |  | Diameter |  | 1 mm
|  |  | Speed |  | 25 mm per sec
|  |  | Cycles |  | 3 rotations
|  |  | Travel |  | 3
|  |  |  | 2D/3D | 3D
Permanent Offset
Target
Pinning
|  |  | Pin Pressure |  | 32% | 32% | 32% | 58% | 58%%
|  |  | Speed |  | 19 mm per sec | 19 mm per sec | 19 mm per sec | 19 mm per sec | 19 mm per sec
Backoff
|  |  | Overshoot |  | 2 mm | 2 mm | 2 mm | 2.5 mm | 2 mm
|  |  | Repeat Pin |  | 1 times | 1 times | 1 times | 1 times | 1 times
Dry Mix
|  |  | Clearance |  | 0.5 mm | 0.5 mm | 0.5 mm | 0.4 mm | 0.5 mm
|  |  | Diameter |  | 1 mm | 1 mm | 1 mm | 1 mm | 1 mm
|  |  | Cycles |  | 1 rotations | 1 rotations | 1 rotations | 1 rotations | 1 rotations
Wet Mix
Diameter
Speed
Cycles
Travel
2D/3D
Pads
Pressure
Ejject Time
Selected Options
|  | Recycle |  |  | Off | Off | Off | Off | Off
|  | Revist |  |  | Off | Off | Off | Off | Off
|  | Protect Source |  |  | Off | Off | Off | Off | Off
|  | Offset |  |  |  | Auto | Auto | Off | Off
|  | Source Mix |  |  | On | On | Off | Off | Off
|  | Target Mix |  |  | On | Off | Off | Off | Off